# Pathology Lab Report

# Generator with Reference Ranges

1

S E C T I O N 0 1

# Project Introduction & Problem Statement

T H E P R O B L E M

Manual reporting doesn't scale — and small mistakes matter

Reference ranges must be looked up by hand for every test,

patient age, and sex

Abnormal and critical values can be missed under time pressure

Analysers report in different units (mg/dL vs mmol/L), inviting

conversion errors

Report formatting is inconsistent across staff and shifts

Introduction

This project builds a Pathology Lab Report Generator that reads analyser output, applies the correct reference range for each patient, and produces a clean, flagged report automatically.

2

S E C T I O N 0 2

# Objectives & Domain

D O M A I N

### Healthcare IT — Clinical Diagnostics

Sits at the intersection of laboratory medicine and software: patient data, analyser instrumentation, and clinical decision-support rules.

## Objectives

1

Automate CSV ingestion

Read analyser output files and structure them into patient test records

without manual re-typing.

2

Apply correct reference ranges

Resolve the right normal range for every test based on patient age and

sex.

3

Flag abnormal & critical results

Automatically highlight out-of-range values and escalate critical results.

4

Handle unit differences

Normalise values across analysers reporting in mg/dL, mmol/L, and other

units.

3

S E C T I O N 0 3

# Existing System & Proposed Solution

E X I S T I N G S Y S T E M

Manual, spreadsheet-driven reporting

–

Analyser CSVs are read and typed into reports by hand

–

Reference ranges kept in static, often outdated sheets

–

No automatic flagging — abnormal values found by eye

–

Unit conversion done manually, prone to error

P R O P O S E D S O L U T I O N

An automated report-generation engine

Parses analyser CSV output directly, no re-typing

Dynamic reference-range engine keyed by age & sex

Automatic abnormal and critical-value flagging

Built-in unit conversion (mg/dL ↔ mmol/L, etc.)

4

3

Unit Converter

Normalises values across analyser units

4

Flagging Engine

Marks abnormal (H/L) and critical results

5

Report Generator

Formats and prints the final patient report

S E C T I O N 0 4

# Input / Data & Project Modules

Analyser Output CSV

Sample cell: 542, Glucose, 118, mg/dL, 34, F

Analyser ID / timestamp

Unit of measurement (mg/dL, mmol/L, ...)

Result value

Test code / Test name

Patient ID, Name, Age, Sex

1

CSV Reader

Ingests and validates raw analyser output

2

Reference Range Engine

Resolves normal ranges by test, age & sex

Input Data	Project Modules

5

S E C T I O N 0 5

# System Architecture & Workflow

## Workflow at a glance

Each analyser CSV moves through six stages — from raw input to a print-ready, clinically flagged report — with no manual data entry in between.

1

CSV Input

Analyser exports raw result file

2

Parser

Reads & validates rows into records

3

Range Lookup

Matches age/sex reference range

4

Unit Normalise

Converts to a common unit

5

Flag Engine

Marks normal / abnormal / critical

6

Report Output

Formats & prints patient report

›	›	›	›	›

6

S E C T I O N 0 6

# Core Concepts / Algorithms / Processing

1

CSV Parsing

Splits each row into typed fields (patient, test, value, unit) with validation

for malformed or missing entries.

2

Range-Lookup Algorithm

Matches a test result to the correct reference bracket using patient age and

sex as lookup keys.

3

Unit Conversion

Applies fixed conversion factors (e.g. glucose mg/dL × 0.0555 = mmol/L)

before any comparison is made.

4

Abnormal / Critical Flagging

Compares the normalised value against low/high and critical thresholds,

tagging H, L, or CRITICAL.

7

S E C T I O N 0 7

# Special Features & Challenges

B O T T L E N E C K S S T U D E N T S M A Y E N C O U N T E R

Age & sex-specific ranges

Reference ranges differ by patient age and sex, so a single static table is not

enough — the lookup must branch correctly.

Cross-analyser units

Units differ across analysers (mg/dL vs mmol/L); missing a conversion silently

produces a wrong flag.

Data quality

Malformed or incomplete CSV rows from the analyser must be detected and

handled without crashing the run.

Special Features

Automatic critical-value highlighting for urgent review

Age- and sex-aware reference range resolution

Multi-unit support across different analyser brands

Batch processing of multiple patient CSVs at once

8

ReferenceRange

low, high, ageGroup, sex

CSVReader

parse(), validate()

Polymorphism

3

Each analyser/unit converter overrides a common convert() method.

S E C T I O N 0 8

# Class Design & OOP Concepts Used

Patient

id, name, age, sex

TestResult

testName, value, unit

Encapsulation

1

Patient and TestResult keep their fields private, exposed only via getters/setters.

Inheritance

2

Analyser-specific readers extend a common CSVReader base class.

Key Classes	OOP Concepts Applied

ReportGenerator

buildReport(), print()

Abstraction

4

ReportGenerator works against a Reportable interface, hiding formatting detail.

9

S E C T I O N 0 9

# Implementation, Output & Testing

Implementation

Built as a python application with a modular

class structure

CSV parsing via a dedicated reader module

Reference ranges stored and queried by test +

age + sex

Output

Formatted patient report with test, result, unit &

range

Abnormal values shown as H / L; critical values

highlighted

Report is print-ready and exportable per patient

Testing

Unit tests per module (parser, range engine,

converter)

Boundary tests at the edge of each reference

range

Sample CSVs covering missing fields and mixed

units

10

S E C T I O N 1 0

Current Progress, Future Enhancements & Conclusion

C U R R E N T P R O G R E SS

CSV reader & data model implemented and tested

F U T U R E E N H A NC EM E NT S

Web-based dashboard for lab staff

Reference range engine working for core test panels	Database integration for patient history

Abnormal / critical flagging logic functional	Direct PDF export of patient reports

Basic formatted report output generated	Support for additional test panels & analysers

C O N C L U S I O N

The Pathology Lab Report Generator replaces slow, error-prone manual reporting with an automated pipeline that applies the correct reference range for every

patient and flags abnormal or critical values instantly — cutting turnaround time and reducing the risk of missed results.

11